## page 1
GE General Gas/Расходомер газа Application Data Sheet/Опросный лист Highlighed Row = Mandatory Field Выделеные строки=Обязательны к заполнению
GENERAL/Общие | 1 | Company Name /Компания
| 2 | Name/Контактное лицо
| 3 | Address/Адрес
| 4 | Phone/Тел. |  |  | Email
PROCESS CONDITIONS/ Условия процесса | 5 | Tag Number/ Номер позиции |  |  | Gas Composition/ Состав газа
| 6 | Flow @ Standard Min. Расход@ Мин. |  |  | Oper./ Норм. | Max./ Макс | Units/ Ед.
| 7 | Temp. @ Flowrate Min. Температура @ Мин. |  |  | Oper./ Норм. | Max./ Макс | Units/ Ед.
| 8 | Press @ Flowrate Min./ Давление @ Мин. |  |  | Oper./ Норм. | Max./ Макс | Units/ Ед.
| 9 | Visc @ Min/ Вязкость Мин | Oper. Viscosity/ Норм |  |  | Max./ Макс | Units/ Ед.
| 10 | Min MW/ Молек. вес мин. | Oper. MW/ Норм. |  |  | Max./ Макс | Units/ Ед.
| 11 | Corrosive / Abrasive Property./ Антикоррозионая защита |  |  |  | Build Up/ Отложения
| 12 | %Suspended Solids/ Твердые включения % |  |  | % Liquid Droplets/ Наличие жидкости %
| 13 | Design Max Press. / Расчетное давление |  |  | Design Max.Temp./ Расчетная темп-ра
TRANSDUCER/ FLOWCELL INSTALLATION/ Установка датчика и измерительного участка | 14 | Pipe Material/ Материал труб-да |  |  | Pipe Size/ Размер труб-да | Wall/Schd. / Толщина
| 15 | Flange Rating/ Рейтинг фланца |  |  | Lining/ Футеровка | Pipe Spec/ Стандарт трубопровода
| 16 | Upstream Straight Run Наличиие прямолинейного участка до установки расходомера |  |  | Downstream / после установки расходомера |  |  | (Pipe Diameters)/ (Количество диаметров) |  | (Pipe Diameters)/ (Количество диаметров)
| 17 | Measurement Location /Место установки | [7 empty] | (Specify Other)/Другое
| 18 | Wetted / Clamp-On / Врезной/Накладной
| 19 | Flowcell Required/ Требуется измерительный участок |  |  | Isolation Valve (x'ducer)/ Отсечной клапан (для датчика)
| 20 | Transmitter Housing Requirement Требование к пылевлагозащите электронного блока
| 21 | Transducer Haz. Area/ Требование к взрывозащите датчика |  |  | Transmitter Haz Area /Требование к взрывозащите электронного блока
| 22 | Ambient Conditions (Corrosive gas, temp, hum)/ Условия окружающей среды (коррозионый газ, температура окружающего воздуха, влажность)
| 23 | Required Cable Length (1000 ft. Max)/ Длина кабеля (макс. 330 метров)
MEASUREMENT PARAMETERS/ Параметры элетронного блока | 24 | Analog Outputs Аналоговые выходы |  |  | Digital/Цифровой
| 25 | Inputs (P and T)/ Входы (P и Т) |  |  | Alarms / Сигнальное реле
| 26 | Power Available/ Напряжение питания
| 27 | Desired Accuracy/ Требование по погрешности |  |  | Desired Repeatability/ Требования по повторяемости
FLOWCELL /Требования к измерительному участку | 28 | Flowcell Required Наличие измерительного участка |  |  | Pipe Spec /Спецификация треубопровода
| 29 | NDE Required (LPI, Hydro, X-ray are standard)/ Требования по НК (Гидротест, Рентген, Капиллярная дефектоскопия- стандарт)
| 30 | Material: Carbon Steel Материал: Углеродистая сталь |  |  | Stainless Steel Нержавеющая сталь
| 31 | 5Cr-1/2Mo / Хромомолибденовая сталь |  |  | 9Cr-1/2Mo Хромомолибденовая сталь
| 32 | Other Material :Specify Pipe and Flange / Другой материал: Укажите спецификацию трубопровода и фланца | [5 empty] | Pipe:/Трубопровод |  | Flange:/Фланец
| 34 | Indicate Flowcell Flanged or Weld Prep Ends / Указать способ присоединение к трубопроводу- фланцевый или под приварку | [5 empty] | Other
| 33 | Rating/Рейтинг |  | Flange Type/ Тип фланца |  | Pipe>24"/ Труба >24"
| 35 | Addl Port Pressure - Size/Class Требование к присоединению датчика давления - размер/класс |  |  |  | Type /Тип
| 36 | Addl Port Temp - Size/Class / Требование к присоединению датчика температуры - размер/класс |  |  |  | Type /Тип
| 37 | Pipe Specification/ Спецификация трубопровода
| 38 | Design P Расчетное давление | Design Temp Расчетная Температура |  |  | Corro. Allow. Припуск на коррозию
| 39 | Paint Sytem /Требование по покраске
| 40 | Interior Coating /Внутренне покрытие
NOTES: Specify any applicable regulatory information (NSPS Ja, HRVOC, AQMD, Consent Decree) Требования по калибровке, хранения данных, наличие сумматора. Specify any clearance issues (Submit Isometric if available) Дополнение: Укажите дополнительные требования регулирующих органов если они есть (NSPS Ja, HRVOC, AQMD, Consent Decree) Укажите дополнительные требования (если имеется дополнительная изометрия трубопровода, просьба предоставить)

## Drop Downs (hidden)
Measurement location | Flowcell Required? | Transducer Removal | Location | Transducer Haz Area | Transmitter Haz Area | Electronics Housing Requirement
Main Header | Yes | Yes | Hazardous | USA/CAN Div1, Cl1 Gr CD | None, NEMA4X & IP66 | Weatherproof, Non-incendive NEMA4X & IP66 (Cl1 Div 2)
Pipe Vertical | No (Hot/Cold Tap) | No | Nonhazardous | USA/CAN Div1, Cl1 Gr BCD | USA/CAN Div2, Cl1 ABCD | Explosionproof NEMA7 / 4X
Before Seal Drum |  |  | Nonhazardous Weatherproof | ATEX II 2 G Ex d IIC T6 | USA/CAN Div1, Cl1 BCD
Before Knock-Out Drum |  |  |  | IECEx II 2 G Ex d IIC T6 | ATEX II 2 G Ex d IIB+H2 T6
Flare Lateral Header |  |  |  | INMETRO | ATEX II 2 G Ex d IIC T6
Pipe Horizontal |  |  |  | Other (Specify in Notes) | IECEx Ex d IIB+H2 T6
After Seal Drum |  |  |  | General Purpose Area | IECEx Ex d IIC T6
After Knock-out drum |  |  |  |  | INMETRO
Other |  |  |  |  | Other (Specify in Notes)
Analog Outputs | Digital Outputs | Alarms | Inputs (Pres./Temp) | Power Available | NDE
Two isolated 4 to 20 | None | None | Two isolated 4 to 20 | 100/120 VAC | X-Ray
Six isolated 4 to 20 | Four config. Pulse total/freq. outputs | 3 hermetically sealed alarms | Six isolated 4 to 20 | 220/240 VAC | LPI
Ten isolated 4 to 20 | Modbus Digital | 6 hermetically sealed alarms | 2 isolated 4 to 20 and two RDT | 12 to 28 VDC | HydroStatic
| Modbus digital + 4 config. Pluse total/freq outputs |  |  |  | Mag Particle
| HART |  |  |  | PMI
| HART + 4 config. Pulse total/freq outputs |  |  |  | Charpy Impact
| MODBUS TCP |  |  |  | Post Weld Heat Treatment
| Ethernet card (panaview/OPC) |  |  |  | NACE
| Foundation Fieldbus |  |  |  | Brinell Hardness
| WiFi Board (Modbus/TCP) |  |  |  | Others
WiFi Board (panaview/OPC)
Carbon Steel | Stainless Steel | 5C-1/2M | 9C-1/2M | Flange Rating | Flange Type | Flange Type | Flanged/Weld Prep
ASTM A106 GrB/A105 (Valid to 24" NPS) | ASTM A312 Gr304/A182 GrF304 | ASTM A335 GrP5/A182 GrF5 | ASTM A335 GrP9/A182 GrF9 | 150 | Weldneck | ANSI B16.47A | Flanged
ASTM A672GrC70/A105 (Valid > 24" NPS) | ASTM A312 Gr316/A182 GrF360 | Other (Enter Below) | Other (Enter Below) | 300 | Slip-on | ANSI B16.47B | Weld-Prep
ASTM A333 Gr6/A350LF2 | Other (Enter Below) |  |  | 600 | RTJ |  | Other
Other (Enter Below) |  |  |  | 900 | AWWA
|  |  |  | 1500 | Other (Specify in Notes)
2500
Port Type | Paint System | Interior Coating |  | Other (Specify in Notes)
Thredolet | System A - Bare Metal (Bare Steel, no coating) | Standard Water Soluable Rust Inhibitor
Sockolet | System B -High Temperature Primer (Dry Temp. Resistance: 750oF/399oC) (Surface Prep: Surface prep to near white metal SP-10 / Primer Coat: Carbonic 11 Primer, 3-4 mils DFT, Manufacturer's Color Code 0700 (Gray) / Cure per Manufacturer's specifications) | Special (Specify in Notes, Include Coating spec and paint system) |  | Gas Composition Tab
Nipple | System C - 1 Coat Epoxy Paint, Self Priming (Dry Temp. Resistance: 425oF/218oC) (Surface Prep to near white metal SP-10 / Top Coat: Carboline Thermoline 450 Novalak Glass Filled Epoxy / Manufacturer's Color Code : 5742 (Gray), Cure per Manufacturer's specifications / Self Priming, No primer coat needed) | None |  | Attaching Gas Composition to ADS
Flanged | System D - 2 Coat Silicone Paint (Dry Temp. Resistance: 1000oF/538oC) (Surface Prep: Surface prep to near white metal SP-10 / Primer Coat: Carbozinc 11 Primer 3-4 mils DFT / Top Coat: Carboline Thermoline 4700, 2 coat at 1.5 mils DFT each / Manufacturer's Color Code : C901 (Aluminum) / Cure primer and top coats per manufacturer's specifications, then final cure at 400oF/205oC for 2 hours. |  |  | Fill Out Gas Composition Tab
| System E - 2 Coat Silicone Paint (Dry Temp. Resistance: 1000oF/538oC) (Surface Prep: Surface prep to near white metal SP-10 / Primer Coat: Carbozinc 11 Primer 3-4 mils DFT / Top Coat: Carboline Thermoline 4700, 2 coat at 1.5 mils DFT each / Manufacturer's Color Code : C901 (Aluminum) / Cure primer and top coats per manufacturer's specifications The final cure for paint system E wil be at the customer site when it is exposed to the actual application temperatures. Customer should expect/anticipate fumes to be present during initial exposure to elevated temperatures) |  |  | Natural Gas
None
Special (Specify in Notes, Include Coating Spec and Paint System)
Wetted/Clamp-on
Wetted
Clamp-on

## Gas Composition Tab
|  | Case 1 |  |  | Case 2 |  |  | Case 3
Gas name | Mol wt | % Volume | fraction | mol Frac | % Volume | fraction | mol Frac | % Volume | fraction | mol Frac
Hydrogen (H2) | 2.016
Nitrogen (N2) | 28.013
Oxygen (O2) | 31.99
Argon | 39.948
Carbon Monoxide | 28.01
Methane | 16.043
Carbon Dioxide | 44.011
Ethylene | 28.054
Ethane | 30.07
Hydr sulf (H2S) | 34.076
Propylene | 42.081
Propane | 44.097
Isobutane | 58.124
Normal butane | 58.124
Butylene | 56.108
Isopentane | 72.15
Pentene | 72.15
Pentane | 72.12
Penatalyne | 72.15
Hexane | 101.19
Cyclohexane | 86.17
Cyclopentane | 70.13
Benzene | 78.11
Heptane | 100.203
Steam (water) | 18
Mercaptan (NOM) | 64.58
Ammonia | 17.03
Helium(He2) | 4
Fluorine(F2) | 38
Uranium Hexafluoride(UF6) | 352
Ethylene Oxide | 44.05
Viny Chloride Monomer | 62.5
Acetylene | 26.04
Butadiene | 54.09
Butene | 56.11
Propadiene | 40.06